September 7, 2024

MEMO

TO: 		Village of Warwick Planning Board

Applicant

CC:		Kristin Bialosky, Planning Board Clerk

Keith Woodruff, Village Engineer

FROM: 	Elizabeth K. Cassidy, Esq.

RE:	Attorney comments on application of

Feed and Grain LLC

210-7-3

I have reviewed the application of Feed and Grain LLC seeking authorization to alter the grading that is located within the floodplain.  I offer the following comments:

| Comment | Status |
| --- | --- |
| - The Property is located in the CB zoning district | For Information |
| - Application Comments - Applicant seeks approval to create 2 berms for trees and plants, raising the grade by approximately 4 feet on average. - The application is subject to amended site plan approval pursuant to § 145-90(B). See also § 145-90 (C) |  |
| - The Planning Board to determine whether amendment requires a public hearing. See § 145-96. |  |
| - GML 239 – The site is within 500 feet of NYS Route 94 & 17A requiring 239 review. |  |
| - SEQR: Applicant has submitted a short environmental assessment form dated July 10, 2024. It appears the action is an Unlisted action for purposes of SEQR. EAF Comments: - Applicant to utilize NYS DEC EAF Mapping tool. - Applicant to address impacts of proposed grading on Wawayanda Creek, Indiana Bat - NYSDEC is likely an involved agency. It appears the project would be subject to a Protection of Waters Permit. - Application indicates 10,000 square feet of disturbance while the EAF indicates 9,000 square feet of disturbance. Applicant to make consistent. - Site is not located in Critical Environmental Area (CEA). |  |
| - Plan Comments - Applicant to provide information on Future Townhouses. Planning Board must evaluate impacts of such townhouses to avoid impermissible segmentation. The applicant must identify any future phases anticipated so that the totality of environmental impacts may be considered at this time. - Plan sets do not provide topographical data |  |
| - I note the comment memorandum of Keith Woodriff, P.E. dated September 4, 2024 | For Information |